## PLC Tags
Name | Path | Data Type | Logical Address | Comment | Hmi Visible | Hmi Accessible | Hmi Writeable | Typeobject ID | Version ID
qw | Constant | Bool | %I2.0 |  | True | True | True
CaseId | Constant | Int | %MW12 |  | True | True | True
start | Constant | Bool | %M14.0 |  | True | True | True
Opened | Constant | Bool | %M14.1 |  | True | True | True
Closed | Constant | Bool | %M14.2 |  | True | True | True
testTag | Constant | DInt | %MD15 |  | True | True | True

## Constants
Name | Path | Data Type | Value | Comment
CMD_NONE | Constant | USInt | 0
FLT_NONE | Constant | UInt | 0
FLT_OVERFLOW | Constant | UInt | 10
FLT_BREAKER | Constant | UInt | 11
FLT_NO_RUNFB | Constant | UInt | 12
FLT_INTERLOCK | Constant | UInt | 13
TYPE_NONE | Constant | USInt | 0
TYPE_NORIA | Constant | USInt | 1
TYPE_REDLER | Constant | USInt | 2
TYPE_GATE2P | Constant | USInt | 3
TYPE_FAN | Constant | USInt | 4
TYPE_VALVE3P | Constant | USInt | 5
TimeoutMs_Redler_Start | Constant | DInt | 5000
TimeoutMs_Redler_SpeedPause | Constant | DInt | 2000
STS_IDLE | Constant | UInt | 0
STS_STARTING | Constant | UInt | 1
STS_RUNNING | Constant | UInt | 2
STS_STOPPING | Constant | UInt | 3
STS_FAULT | Constant | UInt | 4
STS_DISABLED | Constant | UInt | 10
STS_LOCAL | Constant | UInt | 11
OWNER_NONE | Constant | USInt | 0
OWNER_SCADA | Constant | USInt | 1
OWNER_ROUTE | Constant | USInt | 2
ROUTE_STS_IDLE | Constant | UInt | 0
ROUTE_STS_VALIDATING | Constant | UInt | 10
ROUTE_STS_LOCKING | Constant | UInt | 20
ROUTE_STS_STARTING | Constant | UInt | 30
ROUTE_STS_RUNNING | Constant | UInt | 40
ROUTE_STS_STOPPING | Constant | UInt | 50
ROUTE_STS_DONE | Constant | UInt | 1000
ROUTE_STS_REJECTED | Constant | UInt | 1100
ROUTE_STS_ABORTED | Constant | UInt | 1200
RT_CMD_NONE | Constant | USInt | 0
RT_CMD_START | Constant | USInt | 1
RT_CMD_STOP_OP | Constant | USInt | 2
RT_CMD_STOP_SAFE | Constant | USInt | 3
RS_ACT_START | Constant | USInt | 1
RS_ACT_STOP | Constant | USInt | 2
RS_WAIT_RUNNING | Constant | USInt | 1
RS_WAIT_STOPPED | Constant | USInt | 2
STEP_STS_IDLE | Constant | USInt | 0
STEP_STS_WORK | Constant | USInt | 1
STEP_STS_DONE | Constant | USInt | 2
STEP_STS_TIMEOUT | Constant | USInt | 3
ROUTE_DONE_OK | Constant | UInt | 1
ROUTE_REJ_BY_SAFETY | Constant | UInt | 100
ROUTE_REJ_BY_OWNER | Constant | UInt | 101
ROUTE_REJ_BY_CONTRACT | Constant | UInt | 102
ROUTE_REJ_NOT_READY | Constant | UInt | 103
ROUTE_REJ_DUPLICATE_START | Constant | UInt | 104
ROUTE_ABRT_BY_OPERATOR | Constant | UInt | 200
ROUTE_ABRT_BY_SAFETY | Constant | UInt | 201
ROUTE_ABRT_BY_LOCAL | Constant | UInt | 202
ROUTE_ABRT_BY_FAULT | Constant | UInt | 203
ROUTE_ABRT_STARTING_FAILED | Constant | UInt | 204
LIMITS_MAX_ROUTES | Constant | USInt | 12
LIMITS_MAX_STEPS | Constant | USInt | 64
TimeoutMs_Noria_Start | Constant | DInt | 5000
TimeoutMs_Noria_SpeedPause | Constant | DInt | 2000
TimeoutMs_Gate_Move | Constant | DInt | 10000
TimeoutMs_Gate_Position_Unknown | Constant | DInt | 10000
MAN_REJ_OK | Constant | USInt | 0
MAN_REJ_SLOT_UNMAPPED | Constant | USInt | 1
MAN_REJ_LOCAL_MANUAL | Constant | USInt | 2
MAN_REJ_NOT_ENABLED | Constant | USInt | 3
MAN_REJ_OWNER_BUSY | Constant | USInt | 4
MAN_REJ_CMD_INVALID | Constant | USInt | 5
MAN_REJ_ARBITER_FAIL | Constant | USInt | 6
FLT_NO_FEEDBACK | Constant | UInt | 14
FLT_ALINGMENT | Constant | UInt | 15
FLT_GATE_MOVE_TIMEOUT | Constant | UInt | 16
FLT_GATE_POS_UNKNOWN | Constant | UInt | 17
FLT_BOTH_SENSORS | Constant | UInt | 18
CMD_GATE_OPEN | Constant | USInt | 4
CMD_GATE_CLOSED | Constant | USInt | 5
TimeoutMs_Fan_Feedback | Constant | DInt | 5000
MAN_REJ_NOT_IDLE | Constant | USInt | 7
CMD_SET_FORCE | Constant | USInt | 4
CMD_RELEASE_OWNER | Constant | USInt | 5
CMD_START | Constant | USInt | 1
CMD_STOP | Constant | USInt | 2
CMD_RESET | Constant | USInt | 3

## TagTable Properties
Path | BelongsToUnit | Accessibility
Constant